## Week Data
Date and Time |  |  |  | Autumn Week (Nov 2022) |  |  |  |  | Date and Time |  |  |  | Winter Week (Feb 2023) |  |  |  |  | Date and Time |  |  |  | Spring Week (Mar 2023) |  |  |  |  | Date and Time |  |  |  | Summer Week (Jun 2023)
Year | Month | Day | Hour | G(W/m^2) | Ta(C) at 2m | V(m/s) at 10m | Ta(k) at 2m | Load (kW) | Year | Month | Day | Hour | G(W/m^2) | Ta(C) at 2m | V(m/s) at 10m | Ta(k) at 2m | Load (kW) | Year | Month | Day | Hour | G(W/m^2) | Ta(C) at 2m | V(m/s) at 10m | Ta(k) at 2m | Load (kW) | Year | Month | Day | Hour | G(W/m^2) | Ta(C) at 2m | V(m/s) at 10m | Ta(k) at 2m | Load (kW)
2022 | 11 | 15 | 0 | 0 | 12.71 | 1.19 | 285.86 | 3.1113 | 2023 | 2 | 1 | 0 | 0 | 3.58 | 3.75 | 276.73 | 8.6148 | 2023 | 3 | 15 | 0 | 0 | 7.44 | 2.91 | 280.59 | 10.9289 | 2023 | 6 | 15 | 0 | 0 | 14.15 | 1.71 | 287.3 | 6.5816
2022 | 11 | 15 | 1 | 0 | 12.45 | 1.22 | 285.6 | 2.0527 | 2023 | 2 | 1 | 1 | 0 | 3.24 | 3.94 | 276.39 | 8.3987 | 2023 | 3 | 15 | 1 | 0 | 6.83 | 3.58 | 279.98 | 14.273 | 2023 | 6 | 15 | 1 | 0 | 13.73 | 1.76 | 286.88 | 5.5833
2022 | 11 | 15 | 2 | 0 | 12.3 | 1.23 | 285.45 | 1.5479 | 2023 | 2 | 1 | 2 | 0 | 2.98 | 4.11 | 276.13 | 8.7638 | 2023 | 3 | 15 | 2 | 0 | 6.37 | 3.79 | 279.52 | 16.173 | 2023 | 6 | 15 | 2 | 0 | 13.32 | 1.89 | 286.47 | 4.8773
2022 | 11 | 15 | 3 | 0 | 12.17 | 1.29 | 285.32 | 1.298 | 2023 | 2 | 1 | 3 | 0 | 3 | 4.34 | 276.15 | 9.2584 | 2023 | 3 | 15 | 3 | 0 | 6.39 | 4.27 | 279.54 | 17.8071 | 2023 | 6 | 15 | 3 | 0 | 12.9 | 2 | 286.05 | 4.4242
2022 | 11 | 15 | 4 | 0 | 12.03 | 1.38 | 285.18 | 1.2761 | 2023 | 2 | 1 | 4 | 0 | 2.89 | 4.34 | 276.04 | 9.8027 | 2023 | 3 | 15 | 4 | 0 | 6.23 | 4.67 | 279.38 | 18.8361 | 2023 | 6 | 15 | 4 | 1.8 | 12.5 | 2.08 | 285.65 | 4.1956
2022 | 11 | 15 | 5 | 0 | 11.83 | 1.51 | 284.98 | 1.3395 | 2023 | 2 | 1 | 5 | 0 | 2.65 | 4.36 | 275.8 | 10.1591 | 2023 | 3 | 15 | 5 | 0 | 6.12 | 5.28 | 279.27 | 20.3855 | 2023 | 6 | 15 | 5 | 54.95 | 14.32 | 2.66 | 287.47 | 4.4201
2022 | 11 | 15 | 6 | 14.77 | 11.83 | 1.53 | 284.98 | 1.7746 | 2023 | 2 | 1 | 6 | 2.58 | 2.75 | 4.87 | 275.9 | 10.527 | 2023 | 3 | 15 | 6 | 32.77 | 6.15 | 5.84 | 279.3 | 22.0916 | 2023 | 6 | 15 | 6 | 153.02 | 16.98 | 3.87 | 290.13 | 5.2311
2022 | 11 | 15 | 7 | 84.9 | 13.36 | 2.38 | 286.51 | 2.9807 | 2023 | 2 | 1 | 7 | 44.17 | 4.46 | 6.71 | 277.61 | 11.2921 | 2023 | 3 | 15 | 7 | 110.02 | 6.55 | 6.64 | 279.7 | 24.7061 | 2023 | 6 | 15 | 7 | 253.02 | 19.69 | 4.64 | 292.84 | 5.816
2022 | 11 | 15 | 8 | 147.12 | 14.73 | 3.05 | 287.88 | 3.8445 | 2023 | 2 | 1 | 8 | 116.15 | 6.12 | 8.44 | 279.27 | 17.3305 | 2023 | 3 | 15 | 8 | 186.15 | 7.52 | 7.06 | 280.67 | 20.6363 | 2023 | 6 | 15 | 8 | 341.3 | 21.89 | 5 | 295.04 | 5.6375
2022 | 11 | 15 | 9 | 206.6 | 16.48 | 3.19 | 289.63 | 3.8991 | 2023 | 2 | 1 | 9 | 180.38 | 7.26 | 9.85 | 280.41 | 16.5455 | 2023 | 3 | 15 | 9 | 249.15 | 8.77 | 7.45 | 281.92 | 15.6099 | 2023 | 6 | 15 | 9 | 411.4 | 23.85 | 5.26 | 297 | 6.2271
2022 | 11 | 15 | 10 | 256.58 | 17.95 | 3.22 | 291.1 | 3.4108 | 2023 | 2 | 1 | 10 | 238.33 | 8.26 | 10.41 | 281.41 | 14.1078 | 2023 | 3 | 15 | 10 | 269.33 | 10.14 | 7.83 | 283.29 | 11.5772 | 2023 | 6 | 15 | 10 | 457.38 | 25.36 | 5.6 | 298.51 | 6.8791
2022 | 11 | 15 | 11 | 275.23 | 18.74 | 3.63 | 291.89 | 3.5579 | 2023 | 2 | 1 | 11 | 266.95 | 9.06 | 10.87 | 282.21 | 12.9896 | 2023 | 3 | 15 | 11 | 269 | 11.39 | 8.05 | 284.54 | 10.0024 | 2023 | 6 | 15 | 11 | 470.02 | 26.39 | 5.94 | 299.54 | 7.4354
2022 | 11 | 15 | 12 | 240.67 | 19.11 | 4.23 | 292.26 | 4.1693 | 2023 | 2 | 1 | 12 | 252.8 | 9.55 | 11.22 | 282.7 | 9.5765 | 2023 | 3 | 15 | 12 | 249.12 | 11.93 | 8.18 | 285.08 | 7.3737 | 2023 | 6 | 15 | 12 | 460.08 | 27.09 | 6.2 | 300.24 | 7.8928
2022 | 11 | 15 | 13 | 185.25 | 18.9 | 4.69 | 292.05 | 4.4326 | 2023 | 2 | 1 | 13 | 227.4 | 9.69 | 11.6 | 282.84 | 7.9041 | 2023 | 3 | 15 | 13 | 226.77 | 11.98 | 8.16 | 285.13 | 5.0894 | 2023 | 6 | 15 | 13 | 419.7 | 27.44 | 6.47 | 300.59 | 8.3697
2022 | 11 | 15 | 14 | 120 | 18.36 | 4.97 | 291.51 | 5.395 | 2023 | 2 | 1 | 14 | 163.5 | 9.39 | 11.82 | 282.54 | 6.7045 | 2023 | 3 | 15 | 14 | 167.58 | 11.77 | 7.95 | 284.92 | 3.7026 | 2023 | 6 | 15 | 14 | 355.65 | 27.44 | 6.7 | 300.59 | 7.3186
2022 | 11 | 15 | 15 | 56.23 | 17.32 | 5.29 | 290.47 | 6.6543 | 2023 | 2 | 1 | 15 | 86.42 | 8.64 | 11.6 | 281.79 | 5.4087 | 2023 | 3 | 15 | 15 | 126.65 | 11.18 | 7.68 | 284.33 | 2.58 | 2023 | 6 | 15 | 15 | 271.2 | 27.02 | 7.04 | 300.17 | 7.3654
2022 | 11 | 15 | 16 | 6.08 | 15.69 | 5.19 | 288.84 | 7.5639 | 2023 | 2 | 1 | 16 | 24.45 | 7.02 | 10.43 | 280.17 | 4.4441 | 2023 | 3 | 15 | 16 | 71.5 | 10.17 | 6.96 | 283.32 | 3.1714 | 2023 | 6 | 15 | 16 | 174.05 | 25.88 | 7.44 | 299.03 | 7.8932
2022 | 11 | 15 | 17 | 0 | 14.51 | 5.13 | 287.66 | 8.1475 | 2023 | 2 | 1 | 17 | 0 | 5.27 | 9.32 | 278.42 | 5.3097 | 2023 | 3 | 15 | 17 | 9.55 | 7.94 | 4.24 | 281.09 | 3.6646 | 2023 | 6 | 15 | 17 | 76.52 | 23.98 | 7.43 | 297.13 | 8.9589
2022 | 11 | 15 | 18 | 0 | 13.74 | 5.4 | 286.89 | 8.0938 | 2023 | 2 | 1 | 18 | 0 | 4.36 | 8.96 | 277.51 | 8.1747 | 2023 | 3 | 15 | 18 | 0 | 6.3 | 3.2 | 279.45 | 4.3019 | 2023 | 6 | 15 | 18 | 6.85 | 21.23 | 5.87 | 294.38 | 9.5584
2022 | 11 | 15 | 19 | 0 | 12.81 | 4.92 | 285.96 | 8.5733 | 2023 | 2 | 1 | 19 | 0 | 4.02 | 8.88 | 277.17 | 9.2434 | 2023 | 3 | 15 | 19 | 0 | 5.54 | 2.97 | 278.69 | 5.3189 | 2023 | 6 | 15 | 19 | 0 | 19.04 | 4.32 | 292.19 | 9.4033
2022 | 11 | 15 | 20 | 0 | 12.21 | 4.22 | 285.36 | 7.8317 | 2023 | 2 | 1 | 20 | 0 | 4.07 | 8.75 | 277.22 | 10.8496 | 2023 | 3 | 15 | 20 | 0 | 5.05 | 2.67 | 278.2 | 5.3775 | 2023 | 6 | 15 | 20 | 0 | 17.52 | 3.26 | 290.67 | 9.3867
2022 | 11 | 15 | 21 | 0 | 11.91 | 3.6 | 285.06 | 7.0873 | 2023 | 2 | 1 | 21 | 0 | 4.08 | 8.57 | 277.23 | 11.7722 | 2023 | 3 | 15 | 21 | 0 | 4.92 | 2.31 | 278.07 | 5.3448 | 2023 | 6 | 15 | 21 | 0 | 16.27 | 2.58 | 289.42 | 9.6324
2022 | 11 | 15 | 22 | 0 | 11.67 | 2.8 | 284.82 | 6.0801 | 2023 | 2 | 1 | 22 | 0 | 3.94 | 8.92 | 277.09 | 13.7285 | 2023 | 3 | 15 | 22 | 0 | 4.61 | 2.21 | 277.76 | 5.6185 | 2023 | 6 | 15 | 22 | 0 | 15.35 | 2.2 | 288.5 | 8.4074
2022 | 11 | 15 | 23 | 0 | 11.1 | 2.18 | 284.25 | 4.54 | 2023 | 2 | 1 | 23 | 0 | 3.38 | 8.61 | 276.53 | 14.71 | 2023 | 3 | 15 | 23 | 0 | 3.98 | 2.44 | 277.13 | 6.048 | 2023 | 6 | 15 | 23 | 0 | 14.73 | 2.05 | 287.88 | 6.9718
2022 | 11 | 16 | 0 | 0 | 10.55 | 2.07 | 283.7 | 2.9891 | 2023 | 2 | 2 | 0 | 0 | 2.91 | 8.12 | 276.06 | 15.4988 | 2023 | 3 | 16 | 0 | 0 | 3.35 | 2.75 | 276.5 | 6.2112 | 2023 | 6 | 16 | 0 | 0 | 14.24 | 1.97 | 287.39 | 5.4571
2022 | 11 | 16 | 1 | 0 | 10.26 | 2.08 | 283.41 | 1.8506 | 2023 | 2 | 2 | 1 | 0 | 2.03 | 7.39 | 275.18 | 17.3795 | 2023 | 3 | 16 | 1 | 0 | 2.98 | 2.89 | 276.13 | 6.6172 | 2023 | 6 | 16 | 1 | 0 | 13.88 | 1.85 | 287.03 | 4.6417
2022 | 11 | 16 | 2 | 0 | 10.23 | 2.21 | 283.38 | 1.4635 | 2023 | 2 | 2 | 2 | 0 | 1.67 | 7.12 | 274.82 | 18.807 | 2023 | 3 | 16 | 2 | 0 | 2.82 | 2.78 | 275.97 | 6.7571 | 2023 | 6 | 16 | 2 | 0 | 13.52 | 1.79 | 286.67 | 4.1329
2022 | 11 | 16 | 3 | 0 | 10.48 | 2.29 | 283.63 | 1.3023 | 2023 | 2 | 2 | 3 | 0 | 1.26 | 6.1 | 274.41 | 20.8375 | 2023 | 3 | 16 | 3 | 0 | 2.91 | 2.53 | 276.06 | 7.3139 | 2023 | 6 | 16 | 3 | 0 | 13.09 | 1.83 | 286.24 | 3.8431
2022 | 11 | 16 | 4 | 0 | 10.64 | 2.41 | 283.79 | 1.2807 | 2023 | 2 | 2 | 4 | 0 | 1.32 | 5.85 | 274.47 | 22.469 | 2023 | 3 | 16 | 4 | 0 | 3.12 | 2.29 | 276.27 | 8.2439 | 2023 | 6 | 16 | 4 | 1.75 | 12.65 | 1.9 | 285.8 | 3.6867
2022 | 11 | 16 | 5 | 0 | 10.58 | 2.24 | 283.73 | 1.3458 | 2023 | 2 | 2 | 5 | 0 | 1.19 | 5.39 | 274.34 | 22.8946 | 2023 | 3 | 16 | 5 | 0 | 3.14 | 2.25 | 276.29 | 8.9186 | 2023 | 6 | 16 | 5 | 53.5 | 14.48 | 1.81 | 287.63 | 4.0553
2022 | 11 | 16 | 6 | 15.8 | 10.26 | 2.1 | 283.41 | 1.783 | 2023 | 2 | 2 | 6 | 2.85 | 1.26 | 5.25 | 274.41 | 23.8283 | 2023 | 3 | 16 | 6 | 43.7 | 4.97 | 2.2 | 278.12 | 10.0178 | 2023 | 6 | 16 | 6 | 150.7 | 17.38 | 2.55 | 290.53 | 4.9565
2022 | 11 | 16 | 7 | 91.8 | 11.15 | 3.22 | 284.3 | 2.759 | 2023 | 2 | 2 | 7 | 47.65 | 2.01 | 5.54 | 275.16 | 27.4269 | 2023 | 3 | 16 | 7 | 143.23 | 9.12 | 3.25 | 282.27 | 10.5957 | 2023 | 6 | 16 | 7 | 250.17 | 20.71 | 3.69 | 293.86 | 5.6412
2022 | 11 | 16 | 8 | 166.42 | 12.13 | 4.01 | 285.28 | 3.5473 | 2023 | 2 | 2 | 8 | 102.83 | 3.26 | 6.19 | 276.41 | 26.7486 | 2023 | 3 | 16 | 8 | 244.23 | 12.05 | 3.65 | 285.2 | 12.436 | 2023 | 6 | 16 | 8 | 338.75 | 23.15 | 4.31 | 296.3 | 6.0092
2022 | 11 | 16 | 9 | 240.45 | 13.29 | 4.23 | 286.44 | 3.4363 | 2023 | 2 | 2 | 9 | 164.7 | 4.96 | 6.99 | 278.11 | 24.3281 | 2023 | 3 | 16 | 9 | 327.67 | 14.16 | 4.23 | 287.31 | 11.4126 | 2023 | 6 | 16 | 9 | 408.8 | 25.88 | 4.78 | 299.03 | 6.6547
2022 | 11 | 16 | 10 | 247.05 | 14.6 | 4.37 | 287.75 | 3.0066 | 2023 | 2 | 2 | 10 | 244.8 | 6.38 | 7.24 | 279.53 | 21.5808 | 2023 | 3 | 16 | 10 | 317.88 | 15.63 | 4.78 | 288.78 | 11.387 | 2023 | 6 | 16 | 10 | 454.73 | 28.16 | 5.48 | 301.31 | 8.5623
2022 | 11 | 16 | 11 | 269.35 | 15.71 | 4.55 | 288.86 | 2.8468 | 2023 | 2 | 2 | 11 | 227.42 | 7.47 | 7.45 | 280.62 | 20.1482 | 2023 | 3 | 16 | 11 | 406.6 | 16.5 | 5.16 | 289.65 | 11.1184 | 2023 | 6 | 16 | 11 | 465.67 | 29.47 | 6.01 | 302.62 | 9.1542
2022 | 11 | 16 | 12 | 233.7 | 16.26 | 4.68 | 289.41 | 2.7519 | 2023 | 2 | 2 | 12 | 178.83 | 7.87 | 7.52 | 281.02 | 16.5425 | 2023 | 3 | 16 | 12 | 400.08 | 16.88 | 5.38 | 290.03 | 8.8066 | 2023 | 6 | 16 | 12 | 456.15 | 30.13 | 6.49 | 303.28 | 10.0278
2022 | 11 | 16 | 13 | 181.9 | 16.36 | 4.84 | 289.51 | 2.615 | 2023 | 2 | 2 | 13 | 142.8 | 7.92 | 7.38 | 281.07 | 13.5363 | 2023 | 3 | 16 | 13 | 362.98 | 16.91 | 5.38 | 290.06 | 8.6862 | 2023 | 6 | 16 | 13 | 414.27 | 30.36 | 6.72 | 303.51 | 10.7075
2022 | 11 | 16 | 14 | 144.77 | 15.88 | 4.92 | 289.03 | 2.4994 | 2023 | 2 | 2 | 14 | 95.27 | 7.56 | 7.16 | 280.71 | 11.6948 | 2023 | 3 | 16 | 14 | 296.3 | 16.63 | 5.08 | 289.78 | 8.2551 | 2023 | 6 | 16 | 14 | 346.48 | 30.27 | 6.5 | 303.42 | 11.8446
2022 | 11 | 16 | 15 | 70.38 | 14.91 | 4.8 | 288.06 | 2.4611 | 2023 | 2 | 2 | 15 | 57.25 | 6.84 | 6.79 | 279.99 | 9.8997 | 2023 | 3 | 16 | 15 | 204.17 | 15.94 | 4.46 | 289.09 | 8.0085 | 2023 | 6 | 16 | 15 | 258.42 | 29.9 | 6.08 | 303.05 | 13.211
2022 | 11 | 16 | 16 | 6.83 | 13.12 | 3.78 | 286.27 | 2.6981 | 2023 | 2 | 2 | 16 | 29.4 | 5.62 | 5.58 | 278.77 | 8.7287 | 2023 | 3 | 16 | 16 | 100.5 | 14.36 | 2.91 | 287.51 | 6.6922 | 2023 | 6 | 16 | 16 | 159.83 | 28.95 | 5.54 | 302.1 | 14.4469
2022 | 11 | 16 | 17 | 0 | 10.79 | 2.67 | 283.94 | 3.4829 | 2023 | 2 | 2 | 17 | 0 | 4.95 | 4.66 | 278.1 | 9.8228 | 2023 | 3 | 16 | 17 | 11.95 | 11.45 | 1.61 | 284.6 | 6.9439 | 2023 | 6 | 16 | 17 | 66.95 | 27.37 | 4.17 | 300.52 | 15.4631
2022 | 11 | 16 | 18 | 0 | 9.9 | 2.58 | 283.05 | 4.8292 | 2023 | 2 | 2 | 18 | 0 | 4.65 | 3.81 | 277.8 | 13.3073 | 2023 | 3 | 16 | 18 | 0 | 11.4 | 0.59 | 284.55 | 8.7758 | 2023 | 6 | 16 | 18 | 6.08 | 23.58 | 2.66 | 296.73 | 15.1537
2022 | 11 | 16 | 19 | 0 | 9.35 | 2.26 | 282.5 | 5.6477 | 2023 | 2 | 2 | 19 | 0 | 3.76 | 2.71 | 276.91 | 14.3751 | 2023 | 3 | 16 | 19 | 0 | 10.83 | 0.54 | 283.98 | 8.5876 | 2023 | 6 | 16 | 19 | 0 | 21.84 | 2.95 | 294.99 | 15.0881
2022 | 11 | 16 | 20 | 0 | 9.19 | 1.86 | 282.34 | 5.4948 | 2023 | 2 | 2 | 20 | 0 | 2.64 | 2.12 | 275.79 | 15.9716 | 2023 | 3 | 16 | 20 | 0 | 9.54 | 1.48 | 282.69 | 9.0229 | 2023 | 6 | 16 | 20 | 0 | 20.9 | 3.06 | 294.05 | 14.2285
2022 | 11 | 16 | 21 | 0 | 9.08 | 1.53 | 282.23 | 5.1805 | 2023 | 2 | 2 | 21 | 0 | 2.12 | 1.73 | 275.27 | 16.9023 | 2023 | 3 | 16 | 21 | 0 | 8.19 | 2.14 | 281.34 | 9.2912 | 2023 | 6 | 16 | 21 | 0 | 19.98 | 2.73 | 293.13 | 12.9719
2022 | 11 | 16 | 22 | 0 | 8.97 | 1.26 | 282.12 | 4.6608 | 2023 | 2 | 2 | 22 | 0 | 1.8 | 1.42 | 274.95 | 18.2351 | 2023 | 3 | 16 | 22 | 0 | 6.98 | 2.62 | 280.13 | 9.3713 | 2023 | 6 | 16 | 22 | 0 | 19.55 | 2.08 | 292.7 | 11.267
2022 | 11 | 16 | 23 | 0 | 8.88 | 1.09 | 282.03 | 3.7134 | 2023 | 2 | 2 | 23 | 0 | 1.55 | 1.31 | 274.7 | 19.376 | 2023 | 3 | 16 | 23 | 0 | 6.19 | 2.94 | 279.34 | 9.3772 | 2023 | 6 | 16 | 23 | 0 | 19.77 | 1.53 | 292.92 | 9.4276
2022 | 11 | 17 | 0 | 0 | 8.83 | 0.98 | 281.98 | 2.7991 | 2023 | 2 | 3 | 0 | 0 | 1.34 | 1.39 | 274.49 | 19.8223 | 2023 | 3 | 17 | 0 | 0 | 5.77 | 3.13 | 278.92 | 9.3694 | 2023 | 6 | 17 | 0 | 0 | 20.51 | 0.94 | 293.66 | 7.2994
2022 | 11 | 17 | 1 | 0 | 8.69 | 0.82 | 281.84 | 1.8594 | 2023 | 2 | 3 | 1 | 0 | 0.97 | 1.56 | 274.12 | 20.8751 | 2023 | 3 | 17 | 1 | 0 | 5.46 | 3.26 | 278.61 | 9.0463 | 2023 | 6 | 17 | 1 | 0 | 21.11 | 0.74 | 294.26 | 6.2804
2022 | 11 | 17 | 2 | 0 | 8.42 | 0.82 | 281.57 | 1.4729 | 2023 | 2 | 3 | 2 | 0 | 0.69 | 1.71 | 273.84 | 21.7584 | 2023 | 3 | 17 | 2 | 0 | 5.24 | 3.34 | 278.39 | 9.4309 | 2023 | 6 | 17 | 2 | 0 | 21.12 | 1.35 | 294.27 | 5.5845
2022 | 11 | 17 | 3 | 0 | 8.31 | 0.75 | 281.46 | 1.312 | 2023 | 2 | 3 | 3 | 0 | 0.72 | 1.73 | 273.87 | 22.6479 | 2023 | 3 | 17 | 3 | 0 | 5 | 3.39 | 278.15 | 9.5715 | 2023 | 6 | 17 | 3 | 0 | 20.79 | 1.89 | 293.94 | 4.9975
2022 | 11 | 17 | 4 | 0 | 8.19 | 0.72 | 281.34 | 1.2914 | 2023 | 2 | 3 | 4 | 0 | 0.66 | 1.66 | 273.81 | 24.1044 | 2023 | 3 | 17 | 4 | 0 | 4.59 | 3.54 | 277.74 | 10.0204 | 2023 | 6 | 17 | 4 | 1.48 | 20.48 | 2.23 | 293.63 | 4.7034
2022 | 11 | 17 | 5 | 0 | 8.02 | 0.78 | 281.17 | 1.3563 | 2023 | 2 | 3 | 5 | 0 | 0.41 | 1.61 | 273.56 | 24.9304 | 2023 | 3 | 17 | 5 | 0 | 4.13 | 3.77 | 277.28 | 9.7946 | 2023 | 6 | 17 | 5 | 43.65 | 21.58 | 2.31 | 294.73 | 4.7497
2022 | 11 | 17 | 6 | 15.55 | 7.94 | 0.9 | 281.09 | 1.7952 | 2023 | 2 | 3 | 6 | 3.83 | 0.13 | 1.93 | 273.28 | 25.8718 | 2023 | 3 | 17 | 6 | 43.1 | 6.57 | 3.61 | 279.72 | 9.8942 | 2023 | 6 | 17 | 6 | 135.23 | 26.02 | 2.52 | 299.17 | 5.4578
2022 | 11 | 17 | 7 | 96.02 | 10.01 | 0.98 | 283.16 | 2.7736 | 2023 | 2 | 3 | 7 | 63.95 | 2.62 | 2.8 | 275.77 | 27.3962 | 2023 | 3 | 17 | 7 | 141.9 | 11.97 | 4.66 | 285.12 | 11.2612 | 2023 | 6 | 17 | 7 | 234.02 | 29.72 | 3.48 | 302.87 | 6.6914
2022 | 11 | 17 | 8 | 182.52 | 12.51 | 0.56 | 285.66 | 3.5618 | 2023 | 2 | 3 | 8 | 147.17 | 5.89 | 2.74 | 279.04 | 28.9995 | 2023 | 3 | 17 | 8 | 242.23 | 15.51 | 4.27 | 288.66 | 10.1117 | 2023 | 6 | 17 | 8 | 324.02 | 31.9 | 4.46 | 305.05 | 6.9899
2022 | 11 | 17 | 9 | 252.3 | 14.73 | 1.15 | 287.88 | 3.4481 | 2023 | 2 | 3 | 9 | 229.38 | 8.26 | 2.63 | 281.41 | 24.6393 | 2023 | 3 | 17 | 9 | 324.83 | 18.08 | 4.47 | 291.23 | 9.5105 | 2023 | 6 | 17 | 9 | 395 | 33.34 | 5.37 | 306.49 | 7.0638
2022 | 11 | 17 | 10 | 293.73 | 16.42 | 2.16 | 289.57 | 3.0129 | 2023 | 2 | 3 | 10 | 288.45 | 9.87 | 2.29 | 283.02 | 18.889 | 2023 | 3 | 17 | 10 | 383.45 | 19.38 | 4.84 | 292.53 | 8.8518 | 2023 | 6 | 17 | 10 | 441.2 | 34.48 | 6.02 | 307.63 | 8.4055
2022 | 11 | 17 | 11 | 297.83 | 17.51 | 3.24 | 290.66 | 2.8473 | 2023 | 2 | 3 | 11 | 300.08 | 11 | 1.85 | 284.15 | 16.2381 | 2023 | 3 | 17 | 11 | 403.7 | 20.19 | 5.42 | 293.34 | 9.2241 | 2023 | 6 | 17 | 11 | 460.7 | 35.36 | 6.6 | 308.51 | 8.7428
2022 | 11 | 17 | 12 | 280.83 | 18.05 | 4.12 | 291.2 | 2.7487 | 2023 | 2 | 3 | 12 | 288.2 | 11.82 | 1.69 | 284.97 | 12.2166 | 2023 | 3 | 17 | 12 | 397.48 | 20.57 | 6.11 | 293.72 | 7.8871 | 2023 | 6 | 17 | 12 | 450.92 | 36.01 | 7.21 | 309.16 | 9.9113
2022 | 11 | 17 | 13 | 226.05 | 18.02 | 4.66 | 291.17 | 2.6115 | 2023 | 2 | 3 | 13 | 248.7 | 12.17 | 1.99 | 285.32 | 9.6806 | 2023 | 3 | 17 | 13 | 359.9 | 20.45 | 6.62 | 293.6 | 7.0267 | 2023 | 6 | 17 | 13 | 408.73 | 36.26 | 7.97 | 309.41 | 10.8235
2022 | 11 | 17 | 14 | 156.1 | 17.47 | 4.75 | 290.62 | 2.4985 | 2023 | 2 | 3 | 14 | 193.95 | 11.88 | 2.42 | 285.03 | 7.3789 | 2023 | 3 | 17 | 14 | 292.83 | 19.94 | 6.74 | 293.09 | 5.9858 | 2023 | 6 | 17 | 14 | 341.92 | 35.65 | 9.03 | 308.8 | 11.8249
2022 | 11 | 17 | 15 | 71.9 | 16.41 | 4.48 | 289.56 | 2.4609 | 2023 | 2 | 3 | 15 | 116.58 | 10.94 | 2.63 | 284.09 | 7.0922 | 2023 | 3 | 17 | 15 | 200.1 | 19.2 | 6.29 | 292.35 | 7.6483 | 2023 | 6 | 17 | 15 | 256.33 | 33.45 | 9.93 | 306.6 | 12.6315
2022 | 11 | 17 | 16 | 6.42 | 13.95 | 2.96 | 287.1 | 2.7986 | 2023 | 2 | 3 | 16 | 38.5 | 8.23 | 1.99 | 281.38 | 7.3641 | 2023 | 3 | 17 | 16 | 98.38 | 17.16 | 3.9 | 290.31 | 11.7206 | 2023 | 6 | 17 | 16 | 160.75 | 30.2 | 9.14 | 303.35 | 14.0695
2022 | 11 | 17 | 17 | 0 | 11.36 | 2.46 | 284.51 | 3.9412 | 2023 | 2 | 3 | 17 | 0 | 5.19 | 2.2 | 278.34 | 8.5796 | 2023 | 3 | 17 | 17 | 11.8 | 12.79 | 2.86 | 285.94 | 14.3701 | 2023 | 6 | 17 | 17 | 71.4 | 27.05 | 7.75 | 300.2 | 15.2011
2022 | 11 | 17 | 18 | 0 | 10.72 | 2.2 | 283.87 | 5.1156 | 2023 | 2 | 3 | 18 | 0 | 4.8 | 1.76 | 277.95 | 10.028 | 2023 | 3 | 17 | 18 | 0 | 11.54 | 2.64 | 284.69 | 17.5622 | 2023 | 6 | 17 | 18 | 6.62 | 24.05 | 6.42 | 297.2 | 15.7352
2022 | 11 | 17 | 19 | 0 | 10.27 | 1.95 | 283.42 | 6.0129 | 2023 | 2 | 3 | 19 | 0 | 4.87 | 1.22 | 278.02 | 9.9363 | 2023 | 3 | 17 | 19 | 0 | 11.42 | 1.94 | 284.57 | 20.0966 | 2023 | 6 | 17 | 19 | 0 | 21.87 | 5.23 | 295.02 | 14.9407
2022 | 11 | 17 | 20 | 0 | 9.65 | 1.95 | 282.8 | 5.4963 | 2023 | 2 | 3 | 20 | 0 | 4.67 | 1.01 | 277.82 | 10.5171 | 2023 | 3 | 17 | 20 | 0 | 11.27 | 1.14 | 284.42 | 21.2278 | 2023 | 6 | 17 | 20 | 0 | 20.41 | 4.41 | 293.56 | 13.8502
2022 | 11 | 17 | 21 | 0 | 8.67 | 2.28 | 281.82 | 5.1829 | 2023 | 2 | 3 | 21 | 0 | 4.32 | 0.89 | 277.47 | 10.5389 | 2023 | 3 | 17 | 21 | 0 | 10.37 | 1.3 | 283.52 | 22.7535 | 2023 | 6 | 17 | 21 | 0 | 19.26 | 3.86 | 292.41 | 12.9985
2022 | 11 | 17 | 22 | 0 | 7.73 | 2.73 | 280.88 | 4.6639 | 2023 | 2 | 3 | 22 | 0 | 3.98 | 0.89 | 277.13 | 11.0356 | 2023 | 3 | 17 | 22 | 0 | 9.33 | 1.75 | 282.48 | 18.0897 | 2023 | 6 | 17 | 22 | 0 | 18.44 | 3.59 | 291.59 | 11.1996
2022 | 11 | 17 | 23 | 0 | 7.14 | 3.08 | 280.29 | 3.7146 | 2023 | 2 | 3 | 23 | 0 | 3.62 | 0.99 | 276.77 | 10.9455 | 2023 | 3 | 17 | 23 | 0 | 8.69 | 2 | 281.84 | 22.2853 | 2023 | 6 | 17 | 23 | 0 | 17.64 | 3.67 | 290.79 | 9.2072
2022 | 11 | 18 | 0 | 0 | 6.74 | 3.33 | 279.89 | 2.8004 | 2023 | 2 | 4 | 0 | 0 | 3.37 | 1.11 | 276.52 | 11.2528 | 2023 | 3 | 18 | 0 | 0 | 8.33 | 2.12 | 281.48 | 23.1195 | 2023 | 6 | 18 | 0 | 0 | 16.76 | 3.51 | 289.91 | 7.2278
2022 | 11 | 18 | 1 | 0 | 6.44 | 3.5 | 279.59 | 1.8911 | 2023 | 2 | 4 | 1 | 0 | 2.66 | 1.62 | 275.81 | 11.3837 | 2023 | 3 | 18 | 1 | 0 | 8.01 | 2.22 | 281.16 | 23.0306 | 2023 | 6 | 18 | 1 | 0 | 16.23 | 3.19 | 289.38 | 6.2042
2022 | 11 | 18 | 2 | 0 | 6.19 | 3.6 | 279.34 | 1.4893 | 2023 | 2 | 4 | 2 | 0 | 1.98 | 2.02 | 275.13 | 12.0917 | 2023 | 3 | 18 | 2 | 0 | 7.62 | 2.39 | 280.77 | 23.5403 | 2023 | 6 | 18 | 2 | 0 | 15.96 | 2.78 | 289.11 | 5.4024
2022 | 11 | 18 | 3 | 0 | 5.99 | 3.67 | 279.14 | 1.3232 | 2023 | 2 | 4 | 3 | 0 | 1.19 | 2.42 | 274.34 | 13.0357 | 2023 | 3 | 18 | 3 | 0 | 7.14 | 2.62 | 280.29 | 22.7173 | 2023 | 6 | 18 | 3 | 0 | 15.62 | 2.23 | 288.77 | 5.048
2022 | 11 | 18 | 4 | 0 | 5.83 | 3.74 | 278.98 | 1.2994 | 2023 | 2 | 4 | 4 | 0 | 0.4 | 2.8 | 273.55 | 13.5679 | 2023 | 3 | 18 | 4 | 0 | 6.51 | 2.88 | 279.66 | 23.6737 | 2023 | 6 | 18 | 4 | 1.62 | 15.08 | 1.77 | 288.23 | 4.7723
2022 | 11 | 18 | 5 | 0 | 5.71 | 3.82 | 278.86 | 1.3739 | 2023 | 2 | 4 | 5 | 0 | 0.19 | 2.77 | 273.34 | 14.6017 | 2023 | 3 | 18 | 5 | 0 | 5.9 | 3.1 | 279.05 | 24.2703 | 2023 | 6 | 18 | 5 | 49.23 | 16.13 | 2.82 | 289.28 | 4.9791
2022 | 11 | 18 | 6 | 14.95 | 6.01 | 3.93 | 279.16 | 1.843 | 2023 | 2 | 4 | 6 | 3.65 | 0.48 | 2.5 | 273.63 | 15.7197 | 2023 | 3 | 18 | 6 | 47.12 | 8.04 | 2.88 | 281.19 | 26.1299 | 2023 | 6 | 18 | 6 | 144.75 | 18.23 | 3.99 | 291.38 | 5.8135
2022 | 11 | 18 | 7 | 94.5 | 9.64 | 5.61 | 282.79 | 2.8911 | 2023 | 2 | 4 | 7 | 53.67 | 4.08 | 2.8 | 277.23 | 19.0313 | 2023 | 3 | 18 | 7 | 146.65 | 12.62 | 3.99 | 285.77 | 28.0762 | 2023 | 6 | 18 | 7 | 245.33 | 20.51 | 5.06 | 293.66 | 6.6055
2022 | 11 | 18 | 8 | 179.38 | 12.86 | 5.21 | 286.01 | 3.7229 | 2023 | 2 | 4 | 8 | 128.25 | 6.21 | 4.77 | 279.36 | 19.6797 | 2023 | 3 | 18 | 8 | 247.38 | 15.05 | 5.47 | 288.2 | 25.8553 | 2023 | 6 | 18 | 8 | 335.02 | 22.46 | 5.64 | 295.61 | 6.9285
2022 | 11 | 18 | 9 | 247.48 | 16.29 | 4.12 | 289.44 | 3.6406 | 2023 | 2 | 4 | 9 | 187.17 | 7.26 | 6.16 | 280.41 | 17.8912 | 2023 | 3 | 18 | 9 | 329.98 | 16.44 | 6.79 | 289.59 | 25.3823 | 2023 | 6 | 18 | 9 | 406.27 | 24.06 | 5.89 | 297.21 | 7.7625
2022 | 11 | 18 | 10 | 288.67 | 17.85 | 3.15 | 291 | 3.2275 | 2023 | 2 | 4 | 10 | 241.48 | 8.27 | 6.75 | 281.42 | 17.5398 | 2023 | 3 | 18 | 10 | 386.42 | 17.25 | 7.87 | 290.4 | 22.4196 | 2023 | 6 | 18 | 10 | 451.8 | 25.73 | 6.2 | 298.88 | 9.2432
2022 | 11 | 18 | 11 | 295.42 | 18.83 | 2.42 | 291.98 | 3.0611 | 2023 | 2 | 4 | 11 | 229.77 | 9.19 | 7.07 | 282.34 | 18.6177 | 2023 | 3 | 18 | 11 | 398.08 | 17.78 | 8.72 | 290.93 | 21.4693 | 2023 | 6 | 18 | 11 | 462.3 | 26.94 | 6.26 | 300.09 | 9.3873
2022 | 11 | 18 | 12 | 273.83 | 19.5 | 1.81 | 292.65 | 2.9498 | 2023 | 2 | 4 | 12 | 256.25 | 9.78 | 7.55 | 282.93 | 16.6944 | 2023 | 3 | 18 | 12 | 384.55 | 18.11 | 9.2 | 291.26 | 17.282 | 2023 | 6 | 18 | 12 | 453.55 | 27.9 | 6.2 | 301.05 | 10.0676
2022 | 11 | 18 | 13 | 227.15 | 19.81 | 1.26 | 292.96 | 2.7898 | 2023 | 2 | 4 | 13 | 218.5 | 9.7 | 7.94 | 282.85 | 15.0447 | 2023 | 3 | 18 | 13 | 295.33 | 18.08 | 9.52 | 291.23 | 14.0077 | 2023 | 6 | 18 | 13 | 414.12 | 28.53 | 6.27 | 301.68 | 10.8728
2022 | 11 | 18 | 14 | 154.45 | 19.66 | 0.74 | 292.81 | 2.6562 | 2023 | 2 | 4 | 14 | 155.58 | 9.08 | 7.77 | 282.23 | 15.0344 | 2023 | 3 | 18 | 14 | 219.95 | 17.26 | 9.97 | 290.41 | 13.3622 | 2023 | 6 | 18 | 14 | 351.27 | 28.51 | 6.39 | 301.66 | 11.9836
2022 | 11 | 18 | 15 | 70.62 | 19 | 0.84 | 292.15 | 2.797 | 2023 | 2 | 4 | 15 | 89.65 | 8.12 | 7.16 | 281.27 | 14.7751 | 2023 | 3 | 18 | 15 | 150.95 | 15.19 | 10.16 | 288.34 | 10.6889 | 2023 | 6 | 18 | 15 | 267.42 | 27.91 | 6.47 | 301.06 | 13.2343
2022 | 11 | 18 | 16 | 6.15 | 16.28 | 1.52 | 289.43 | 3.5434 | 2023 | 2 | 4 | 16 | 37.88 | 6.44 | 5.32 | 279.59 | 13.4595 | 2023 | 3 | 18 | 16 | 79.12 | 12.78 | 8.89 | 285.93 | 9.5451 | 2023 | 6 | 18 | 16 | 170.38 | 26.69 | 6.44 | 299.84 | 14.4942
2022 | 11 | 18 | 17 | 0 | 13.77 | 2.11 | 286.92 | 4.6584 | 2023 | 2 | 4 | 17 | 0 | 4.5 | 3.43 | 277.65 | 13.8848 | 2023 | 3 | 18 | 17 | 11.05 | 10.48 | 6.57 | 283.63 | 9.8275 | 2023 | 6 | 18 | 17 | 74.65 | 24.74 | 6.13 | 297.89 | 15.3505
2022 | 11 | 18 | 18 | 0 | 12.79 | 2.1 | 285.94 | 6.1476 | 2023 | 2 | 4 | 18 | 0 | 3.84 | 2.96 | 276.99 | 15.7171 | 2023 | 3 | 18 | 18 | 0 | 8.89 | 5.09 | 282.04 | 11.4973 | 2023 | 6 | 18 | 18 | 7.1 | 21.5 | 4.22 | 294.65 | 15.3851
2022 | 11 | 18 | 19 | 0 | 12 | 2.16 | 285.15 | 5.829 | 2023 | 2 | 4 | 19 | 0 | 2.95 | 2.65 | 276.1 | 15.7787 | 2023 | 3 | 18 | 19 | 0 | 7.7 | 3.96 | 280.85 | 11.1247 | 2023 | 6 | 18 | 19 | 0 | 19.04 | 3.27 | 292.19 | 14.4766
2022 | 11 | 18 | 20 | 0 | 10.76 | 2.81 | 283.91 | 5.6899 | 2023 | 2 | 4 | 20 | 0 | 2.19 | 2.48 | 275.34 | 15.8608 | 2023 | 3 | 18 | 20 | 0 | 6.72 | 3.5 | 279.87 | 11.5085 | 2023 | 6 | 18 | 20 | 0 | 17.47 | 2.64 | 290.62 | 13.5544
2022 | 11 | 18 | 21 | 0 | 10.05 | 3.46 | 283.2 | 5.3725 | 2023 | 2 | 4 | 21 | 0 | 1.69 | 2.42 | 274.84 | 16.1965 | 2023 | 3 | 18 | 21 | 0 | 6 | 3.13 | 279.15 | 12.144 | 2023 | 6 | 18 | 21 | 0 | 16.18 | 2.16 | 289.33 | 13.1056
2022 | 11 | 18 | 22 | 0 | 9.8 | 4.25 | 282.95 | 4.8377 | 2023 | 2 | 4 | 22 | 0 | 1.3 | 2.65 | 274.45 | 16.0719 | 2023 | 3 | 18 | 22 | 0 | 5.36 | 2.93 | 278.51 | 13.3088 | 2023 | 6 | 18 | 22 | 0 | 15.44 | 1.85 | 288.59 | 11.222
2022 | 11 | 18 | 23 | 0 | 9.79 | 5.55 | 282.94 | 3.8526 | 2023 | 2 | 4 | 23 | 0 | 1.18 | 2.9 | 274.33 | 15.4918 | 2023 | 3 | 18 | 23 | 0 | 4.81 | 2.87 | 277.96 | 13.5144 | 2023 | 6 | 18 | 23 | 0 | 15.04 | 1.76 | 288.19 | 9.1097
2022 | 11 | 19 | 0 | 0 | 9.77 | 6.63 | 282.92 | 2.8827 | 2023 | 2 | 5 | 0 | 0 | 1.11 | 2.98 | 274.26 | 15.6274 | 2023 | 3 | 19 | 0 | 0 | 4.53 | 2.93 | 277.68 | 14.5183 | 2023 | 6 | 19 | 0 | 0 | 14.5 | 1.95 | 287.65 | 7.1954
2022 | 11 | 19 | 1 | 0 | 9.65 | 7.2 | 282.8 | 1.8921 | 2023 | 2 | 5 | 1 | 0 | 0.93 | 2.98 | 274.08 | 16.05 | 2023 | 3 | 19 | 1 | 0 | 4.65 | 3.1 | 277.8 | 15.956 | 2023 | 6 | 19 | 1 | 0 | 13.91 | 2.11 | 287.06 | 6.0248
2022 | 11 | 19 | 2 | 0 | 9.45 | 7.37 | 282.6 | 1.4917 | 2023 | 2 | 5 | 2 | 0 | 0.66 | 2.98 | 273.81 | 16.3709 | 2023 | 3 | 19 | 2 | 0 | 5.28 | 3.96 | 278.43 | 16.7546 | 2023 | 6 | 19 | 2 | 0 | 13.38 | 2.1 | 286.53 | 5.337
2022 | 11 | 19 | 3 | 0 | 9.48 | 7.5 | 282.63 | 1.3257 | 2023 | 2 | 5 | 3 | 0 | 0.37 | 2.95 | 273.52 | 16.7484 | 2023 | 3 | 19 | 3 | 0 | 5.78 | 5.06 | 278.93 | 19.0937 | 2023 | 6 | 19 | 3 | 0 | 12.94 | 1.97 | 286.09 | 4.8621
2022 | 11 | 19 | 4 | 0 | 9.41 | 7.63 | 282.56 | 1.3023 | 2023 | 2 | 5 | 4 | 0 | 0.24 | 2.94 | 273.39 | 17.1109 | 2023 | 3 | 19 | 4 | 0 | 5.91 | 5.48 | 279.06 | 20.7241 | 2023 | 6 | 19 | 4 | 1.6 | 12.68 | 1.71 | 285.83 | 4.4234
2022 | 11 | 19 | 5 | 0 | 9.28 | 7.73 | 282.43 | 1.3783 | 2023 | 2 | 5 | 5 | 0 | 0.3 | 3.09 | 273.45 | 17.3269 | 2023 | 3 | 19 | 5 | 0 | 5.95 | 5.6 | 279.1 | 21.1637 | 2023 | 6 | 19 | 5 | 50.35 | 14.23 | 1.45 | 287.38 | 4.5505
2022 | 11 | 19 | 6 | 14.35 | 9.23 | 7.81 | 282.38 | 1.8488 | 2023 | 2 | 5 | 6 | 3.88 | 0.9 | 3.65 | 274.05 | 18.0167 | 2023 | 3 | 19 | 6 | 47.48 | 6.08 | 5.57 | 279.23 | 22.5604 | 2023 | 6 | 19 | 6 | 145.92 | 17.12 | 2.39 | 290.27 | 5.3242
2022 | 11 | 19 | 7 | 91.92 | 10.85 | 8.42 | 284 | 2.8988 | 2023 | 2 | 5 | 7 | 54.38 | 3.98 | 4.56 | 277.13 | 18.5773 | 2023 | 3 | 19 | 7 | 129.3 | 6.58 | 5.81 | 279.73 | 23.5398 | 2023 | 6 | 19 | 7 | 246.5 | 19.9 | 3.25 | 293.05 | 6.14
2022 | 11 | 19 | 8 | 175.7 | 13.9 | 8.25 | 287.05 | 3.7314 | 2023 | 2 | 5 | 8 | 124.7 | 6.65 | 5.45 | 279.8 | 21.0382 | 2023 | 3 | 19 | 8 | 217.27 | 7.6 | 6.03 | 280.75 | 20.7614 | 2023 | 6 | 19 | 8 | 336.67 | 22.5 | 4.09 | 295.65 | 6.2423
2022 | 11 | 19 | 9 | 243.55 | 16.8 | 8.23 | 289.95 | 3.6497 | 2023 | 2 | 5 | 9 | 201 | 8.81 | 6.34 | 281.96 | 19.7724 | 2023 | 3 | 19 | 9 | 277 | 9.47 | 6.45 | 282.62 | 17.1381 | 2023 | 6 | 19 | 9 | 408.17 | 24.48 | 4.69 | 297.63 | 6.819
2022 | 11 | 19 | 10 | 285.95 | 18.44 | 7.59 | 291.59 | 3.2368 | 2023 | 2 | 5 | 10 | 252.77 | 10.31 | 7.08 | 283.46 | 19.2438 | 2023 | 3 | 19 | 10 | 349.27 | 11.47 | 7.09 | 284.62 | 13.5429 | 2023 | 6 | 19 | 10 | 455.75 | 26.01 | 5.23 | 299.16 | 8.1913
2022 | 11 | 19 | 11 | 302.8 | 19.5 | 6.97 | 292.65 | 3.0712 | 2023 | 2 | 5 | 11 | 288.12 | 11 | 7.3 | 284.15 | 20.8764 | 2023 | 3 | 19 | 11 | 376.58 | 12.69 | 7.57 | 285.84 | 11.0482 | 2023 | 6 | 19 | 11 | 454.55 | 26.98 | 5.82 | 300.13 | 8.7661
2022 | 11 | 19 | 12 | 281.12 | 20.04 | 6.54 | 293.19 | 2.9616 | 2023 | 2 | 5 | 12 | 289.85 | 11.25 | 7.09 | 284.4 | 18.6916 | 2023 | 3 | 19 | 12 | 375.45 | 13.44 | 7.96 | 286.59 | 8.2673 | 2023 | 6 | 19 | 12 | 440.85 | 27.53 | 6.21 | 300.68 | 9.5087
2022 | 11 | 19 | 13 | 234.35 | 20.13 | 6.29 | 293.28 | 2.8017 | 2023 | 2 | 5 | 13 | 262.98 | 11.28 | 6.96 | 284.43 | 17.7396 | 2023 | 3 | 19 | 13 | 312.52 | 13.71 | 8.36 | 286.86 | 5.2571 | 2023 | 6 | 19 | 13 | 414.52 | 27.89 | 6.4 | 301.04 | 10.098
2022 | 11 | 19 | 14 | 165.05 | 19.72 | 6.25 | 292.87 | 2.6677 | 2023 | 2 | 5 | 14 | 181.75 | 10.95 | 6.62 | 284.1 | 17.4425 | 2023 | 3 | 19 | 14 | 273.35 | 13.58 | 8.61 | 286.73 | 3.3398 | 2023 | 6 | 19 | 14 | 350.58 | 27.96 | 6.66 | 301.11 | 11.6281
2022 | 11 | 19 | 15 | 77.8 | 18.67 | 6.29 | 291.82 | 2.6141 | 2023 | 2 | 5 | 15 | 104.52 | 10.24 | 5.85 | 283.39 | 17.1666 | 2023 | 3 | 19 | 15 | 177.65 | 12.87 | 8.64 | 286.02 | 2.9492 | 2023 | 6 | 19 | 15 | 266.1 | 27.35 | 7.13 | 300.5 | 12.3495
2022 | 11 | 19 | 16 | 6.75 | 15.69 | 4.51 | 288.84 | 2.8458 | 2023 | 2 | 5 | 16 | 44.7 | 8.31 | 3.21 | 281.46 | 17.4314 | 2023 | 3 | 19 | 16 | 81.52 | 11.52 | 8.08 | 284.67 | 3.894 | 2023 | 6 | 19 | 16 | 168.9 | 25.87 | 7.55 | 299.02 | 14.1758
2022 | 11 | 19 | 17 | 0 | 12.98 | 4.54 | 286.13 | 3.6411 | 2023 | 2 | 5 | 17 | 0 | 5.21 | 2.71 | 278.36 | 17.456 | 2023 | 3 | 19 | 17 | 10.15 | 8.83 | 5.37 | 281.98 | 4.7674 | 2023 | 6 | 19 | 17 | 74.12 | 23.38 | 7.6 | 296.53 | 15.6182
2022 | 11 | 19 | 18 | 0 | 12.62 | 5.86 | 285.77 | 5.0019 | 2023 | 2 | 5 | 18 | 0 | 4.4 | 2.54 | 277.55 | 19.3579 | 2023 | 3 | 19 | 18 | 0 | 6.83 | 4.06 | 279.98 | 5.5264 | 2023 | 6 | 19 | 18 | 7.05 | 20.23 | 6.46 | 293.38 | 15.0029
2022 | 11 | 19 | 19 | 0 | 12.37 | 7.22 | 285.52 | 5.8427 | 2023 | 2 | 5 | 19 | 0 | 4.14 | 2.24 | 277.29 | 18.8747 | 2023 | 3 | 19 | 19 | 0 | 6.24 | 4.01 | 279.39 | 6.4519 | 2023 | 6 | 19 | 19 | 0 | 17.88 | 5.05 | 291.03 | 14.456
2022 | 11 | 19 | 20 | 0 | 12.04 | 8.2 | 285.19 | 5.7024 | 2023 | 2 | 5 | 20 | 0 | 3.73 | 2.27 | 276.88 | 18.9523 | 2023 | 3 | 19 | 20 | 0 | 6.09 | 4.35 | 279.24 | 6.4608 | 2023 | 6 | 19 | 20 | 0 | 16.39 | 4.13 | 289.54 | 13.4091
2022 | 11 | 19 | 21 | 0 | 11.64 | 8.85 | 284.79 | 5.3832 | 2023 | 2 | 5 | 21 | 0 | 3.05 | 2.67 | 276.2 | 18.567 | 2023 | 3 | 19 | 21 | 0 | 6.48 | 5.18 | 279.63 | 5.9063 | 2023 | 6 | 19 | 21 | 0 | 15.21 | 3.43 | 288.36 | 12.9466
2022 | 11 | 19 | 22 | 0 | 11.18 | 9.19 | 284.33 | 4.8476 | 2023 | 2 | 5 | 22 | 0 | 2.05 | 3.13 | 275.2 | 18.6647 | 2023 | 3 | 19 | 22 | 0 | 6.8 | 5.87 | 279.95 | 5.3483 | 2023 | 6 | 19 | 22 | 0 | 14.14 | 2.77 | 287.29 | 11.3864
2022 | 11 | 19 | 23 | 0 | 10.78 | 9.32 | 283.93 | 3.8627 | 2023 | 2 | 5 | 23 | 0 | 1.53 | 3.48 | 274.68 | 18.4122 | 2023 | 3 | 19 | 23 | 0 | 6.57 | 6.38 | 279.72 | 5.5527 | 2023 | 6 | 19 | 23 | 0 | 13.79 | 3.03 | 286.94 | 9.3335
2022 | 11 | 20 | 0 | 0 | 10.46 | 9.37 | 283.61 | 2.8907 | 2023 | 2 | 6 | 0 | 0 | 1.25 | 3.77 | 274.4 | 18.2641 | 2023 | 3 | 20 | 0 | 0 | 5.98 | 6.47 | 279.13 | 5.6587 | 2023 | 6 | 20 | 0 | 0 | 13.71 | 3.14 | 286.86 | 7.4337
2022 | 11 | 20 | 1 | 0 | 10.18 | 9.25 | 283.33 | 1.8685 | 2023 | 2 | 6 | 1 | 0 | 1.05 | 3.97 | 274.2 | 18.1228 | 2023 | 3 | 20 | 1 | 0 | 5.24 | 6.51 | 278.39 | 6.4183 | 2023 | 6 | 20 | 1 | 0 | 13.68 | 3.08 | 286.83 | 6.0603
2022 | 11 | 20 | 2 | 0 | 9.82 | 9.19 | 282.97 | 1.4803 | 2023 | 2 | 6 | 2 | 0 | 0.84 | 4.14 | 273.99 | 18.8743 | 2023 | 3 | 20 | 2 | 0 | 5.17 | 6.94 | 278.32 | 7.4597 | 2023 | 6 | 20 | 2 | 0 | 13.48 | 2.67 | 286.63 | 5.3273
2022 | 11 | 20 | 3 | 0 | 9.41 | 9.63 | 282.56 | 1.3193 | 2023 | 2 | 6 | 3 | 0 | 0.66 | 4.36 | 273.81 | 19.218 | 2023 | 3 | 20 | 3 | 0 | 5.19 | 7.34 | 278.34 | 9.5593 | 2023 | 6 | 20 | 3 | 0 | 13.22 | 2.09 | 286.37 | 4.9923
2022 | 11 | 20 | 4 | 0 | 9.05 | 10.25 | 282.2 | 1.2981 | 2023 | 2 | 6 | 4 | 0 | 0.49 | 4.55 | 273.64 | 19.3808 | 2023 | 3 | 20 | 4 | 0 | 4.94 | 7.47 | 278.09 | 10.9826 | 2023 | 6 | 20 | 4 | 1.6 | 12.93 | 1.71 | 286.08 | 4.6981
2022 | 11 | 20 | 5 | 0 | 8.83 | 10.95 | 281.98 | 1.3637 | 2023 | 2 | 6 | 5 | 0 | 0.43 | 4.84 | 273.58 | 19.563 | 2023 | 3 | 20 | 5 | 0 | 4.59 | 7.61 | 277.74 | 11.9014 | 2023 | 6 | 20 | 5 | 52.23 | 13.78 | 2.53 | 286.93 | 4.8601
2022 | 11 | 20 | 6 | 14.42 | 8.71 | 11.62 | 281.86 | 1.8051 | 2023 | 2 | 6 | 6 | 3.35 | 1.13 | 5.72 | 274.28 | 19.7002 | 2023 | 3 | 20 | 6 | 32.05 | 4.66 | 7.57 | 277.81 | 14.6729 | 2023 | 6 | 20 | 6 | 149.05 | 15.8 | 2.97 | 288.95 | 5.5447
2022 | 11 | 20 | 7 | 94.35 | 10.26 | 12.19 | 283.41 | 2.7888 | 2023 | 2 | 6 | 7 | 46.17 | 4.04 | 8.03 | 277.19 | 20.2373 | 2023 | 3 | 20 | 7 | 78.5 | 5.15 | 7.37 | 278.3 | 17.6546 | 2023 | 6 | 20 | 7 | 249.23 | 18.73 | 3.35 | 291.88 | 6.4062
2022 | 11 | 20 | 8 | 178.45 | 13.43 | 13.31 | 286.58 | 3.5786 | 2023 | 2 | 6 | 8 | 84.52 | 5.96 | 11.06 | 279.11 | 22.2531 | 2023 | 3 | 20 | 8 | 144.48 | 5.93 | 7.75 | 279.08 | 13.2828 | 2023 | 6 | 20 | 8 | 338.4 | 21.46 | 3.49 | 294.61 | 6.6594
2022 | 11 | 20 | 9 | 249.27 | 15.92 | 13.59 | 289.07 | 3.4651 | 2023 | 2 | 6 | 9 | 162.12 | 6.34 | 12.3 | 279.49 | 20.2861 | 2023 | 3 | 20 | 9 | 203.38 | 6.77 | 8.34 | 279.92 | 8.949 | 2023 | 6 | 20 | 9 | 407.85 | 23.85 | 3.48 | 297 | 7.1763
2022 | 11 | 20 | 10 | 287.8 | 17.91 | 12.7 | 291.06 | 3.0294 | 2023 | 2 | 6 | 10 | 183.42 | 6.79 | 12.88 | 279.94 | 18.8805 | 2023 | 3 | 20 | 10 | 186.05 | 7.44 | 8.34 | 280.59 | 5.5503 | 2023 | 6 | 20 | 10 | 454.15 | 26.05 | 3.83 | 299.2 | 8.8859
2022 | 11 | 20 | 11 | 296.45 | 19.6 | 11.58 | 292.75 | 2.8622 | 2023 | 2 | 6 | 11 | 231.02 | 7.12 | 13.37 | 280.27 | 19.2235 | 2023 | 3 | 20 | 11 | 212.88 | 8.02 | 8.45 | 281.17 | 3.778 | 2023 | 6 | 20 | 11 | 468.4 | 27.55 | 4.43 | 300.7 | 9.3865
2022 | 11 | 20 | 12 | 279.77 | 20.65 | 10.47 | 293.8 | 2.7605 | 2023 | 2 | 6 | 12 | 198.15 | 7.83 | 13.66 | 280.98 | 16.6459 | 2023 | 3 | 20 | 12 | 123.92 | 8.87 | 8.76 | 282.02 | 3.0607 | 2023 | 6 | 20 | 12 | 458.92 | 28.32 | 4.94 | 301.47 | 10.4548
2022 | 11 | 20 | 13 | 226.35 | 21.08 | 9.49 | 294.23 | 2.6204 | 2023 | 2 | 6 | 13 | 197.65 | 7.92 | 13.74 | 281.07 | 14.5879 | 2023 | 3 | 20 | 13 | 104.95 | 9.46 | 8.92 | 282.61 | 3.6426 | 2023 | 6 | 20 | 13 | 421.45 | 28.42 | 5.29 | 301.57 | 11.0783
2022 | 11 | 20 | 14 | 155.45 | 20.74 | 8.79 | 293.89 | 2.5047 | 2023 | 2 | 6 | 14 | 147.9 | 7.3 | 13.1 | 280.45 | 15.1432 | 2023 | 3 | 20 | 14 | 106.98 | 9.52 | 8.85 | 282.67 | 4.2232 | 2023 | 6 | 20 | 14 | 358.35 | 28.05 | 5.39 | 301.2 | 11.7244
2022 | 11 | 20 | 15 | 71.73 | 19.74 | 7.8 | 292.89 | 2.4668 | 2023 | 2 | 6 | 15 | 87.15 | 6.3 | 12.2 | 279.45 | 13.8068 | 2023 | 3 | 20 | 15 | 52.2 | 9.03 | 8.46 | 282.18 | 5.0097 | 2023 | 6 | 20 | 15 | 274.38 | 27.38 | 5.27 | 300.53 | 13.4424
2022 | 11 | 20 | 16 | 6.23 | 16.76 | 5.32 | 289.91 | 2.7035 | 2023 | 2 | 6 | 16 | 33.33 | 4.62 | 10.4 | 277.77 | 13.2846 | 2023 | 3 | 20 | 16 | 26.9 | 8.02 | 7.6 | 281.17 | 5.6423 | 2023 | 6 | 20 | 16 | 176.9 | 26.38 | 5.09 | 299.53 | 14.6692
2022 | 11 | 20 | 17 | 0 | 14.65 | 7.14 | 287.8 | 3.4902 | 2023 | 2 | 6 | 17 | 0 | 3.1 | 8.28 | 276.25 | 13.6267 | 2023 | 3 | 20 | 17 | 8.83 | 7.08 | 6.09 | 280.23 | 6.4671 | 2023 | 6 | 20 | 17 | 78.73 | 24.98 | 4.99 | 298.13 | 15.7612
2022 | 11 | 20 | 18 | 0 | 14.04 | 10.09 | 287.19 | 4.8401 | 2023 | 2 | 6 | 18 | 0 | 2.48 | 7.35 | 275.63 | 15.8771 | 2023 | 3 | 20 | 18 | 0 | 6.81 | 5.45 | 279.96 | 7.175 | 2023 | 6 | 20 | 18 | 7.55 | 22.35 | 3.69 | 295.5 | 15.6123
2022 | 11 | 20 | 19 | 0 | 12.8 | 10.74 | 285.95 | 5.6604 | 2023 | 2 | 6 | 19 | 0 | 2.29 | 7.46 | 275.44 | 14.9915 | 2023 | 3 | 20 | 19 | 0 | 6.72 | 5.31 | 279.87 | 7.6541 | 2023 | 6 | 20 | 19 | 0 | 20.18 | 3.75 | 293.33 | 14.4274
2022 | 11 | 20 | 20 | 0 | 11.75 | 10.99 | 284.9 | 5.5085 | 2023 | 2 | 6 | 20 | 0 | 2.2 | 7.54 | 275.35 | 15.0738 | 2023 | 3 | 20 | 20 | 0 | 6.68 | 5.08 | 279.83 | 7.786 | 2023 | 6 | 20 | 20 | 0 | 18.54 | 3.48 | 291.69 | 13.5597
2022 | 11 | 20 | 21 | 0 | 11.12 | 11.47 | 284.27 | 5.1945 | 2023 | 2 | 6 | 21 | 0 | 2.22 | 7.69 | 275.37 | 14.9516 | 2023 | 3 | 20 | 21 | 0 | 6.67 | 4.61 | 279.82 | 7.229 | 2023 | 6 | 20 | 21 | 0 | 16.98 | 2.5 | 290.13 | 13.0385
2022 | 11 | 20 | 22 | 0 | 10.64 | 12.01 | 283.79 | 4.6744 | 2023 | 2 | 6 | 22 | 0 | 2.11 | 7.51 | 275.26 | 14.8262 | 2023 | 3 | 20 | 22 | 0 | 6.65 | 4.4 | 279.8 | 5.9401 | 2023 | 6 | 20 | 22 | 0 | 15.8 | 1.96 | 288.95 | 11.6698
2022 | 11 | 20 | 23 | 0 | 10.37 | 12.02 | 283.52 | 3.7247 | 2023 | 2 | 6 | 23 | 0 | 1.88 | 7.12 | 275.03 | 14.8498 | 2023 | 3 | 20 | 23 | 0 | 6.69 | 4.51 | 279.84 | 4.2691 | 2023 | 6 | 20 | 23 | 0 | 14.95 | 1.84 | 288.1 | 9.8224
2022 | 11 | 21 | 0 | 0 | 10.21 | 12.06 | 283.36 | 2.8089 | 2023 | 2 | 7 | 0 | 0 | 1.63 | 7.07 | 274.78 | 14.8056 | 2023 | 3 | 21 | 0 | 0 | 6.58 | 4.26 | 279.73 | 3.9653 | 2023 | 6 | 21 | 0 | 0 | 14.33 | 1.82 | 287.48 | 7.917
2022 | 11 | 21 | 1 | 0 | 9.99 | 11.96 | 283.14 | 1.8655 | 2023 | 2 | 7 | 1 | 0 | 1.19 | 6.76 | 274.34 | 14.7701 | 2023 | 3 | 21 | 1 | 0 | 6.46 | 4.08 | 279.61 | 5.3281 | 2023 | 6 | 21 | 1 | 0 | 13.87 | 1.76 | 287.02 | 6.9016
2022 | 11 | 21 | 2 | 0 | 9.76 | 11.78 | 282.91 | 1.4784 | 2023 | 2 | 7 | 2 | 0 | 0.82 | 6.68 | 273.97 | 14.7564 | 2023 | 3 | 21 | 2 | 0 | 6.58 | 4.28 | 279.73 | 7.3292 | 2023 | 6 | 21 | 2 | 0 | 13.59 | 1.66 | 286.74 | 6.3406
2022 | 11 | 21 | 3 | 0 | 9.47 | 11.51 | 282.62 | 1.3178 | 2023 | 2 | 7 | 3 | 0 | 0.72 | 6.49 | 273.87 | 14.8167 | 2023 | 3 | 21 | 3 | 0 | 6.64 | 4.53 | 279.79 | 8.1578 | 2023 | 6 | 21 | 3 | 0 | 13.56 | 1.57 | 286.71 | 5.6862
2022 | 11 | 21 | 4 | 0 | 9.29 | 11.19 | 282.44 | 1.2979 | 2023 | 2 | 7 | 4 | 0 | 0.93 | 6.81 | 274.08 | 15.3107 | 2023 | 3 | 21 | 4 | 0 | 6.58 | 4.87 | 279.73 | 8.9569 | 2023 | 6 | 21 | 4 | 1.55 | 13.62 | 1.53 | 286.77 | 5.1779
2022 | 11 | 21 | 5 | 0 | 9.18 | 10.96 | 282.33 | 1.3643 | 2023 | 2 | 7 | 5 | 0 | 1.01 | 7.1 | 274.16 | 15.2028 | 2023 | 3 | 21 | 5 | 0 | 6.62 | 4.9 | 279.77 | 10.2662 | 2023 | 6 | 21 | 5 | 50.33 | 15.18 | 1.95 | 288.33 | 5.3571
2022 | 11 | 21 | 6 | 11.9 | 9.26 | 10.81 | 282.41 | 1.8067 | 2023 | 2 | 7 | 6 | 3.83 | 1.22 | 7.54 | 274.37 | 15.6746 | 2023 | 3 | 21 | 6 | 40.3 | 6.82 | 4.59 | 279.97 | 12.7109 | 2023 | 6 | 21 | 6 | 146.15 | 17.83 | 1.9 | 290.98 | 6.1537
2022 | 11 | 21 | 7 | 82.88 | 11.1 | 10.79 | 284.25 | 2.7928 | 2023 | 2 | 7 | 7 | 50.48 | 1.86 | 8.44 | 275.01 | 15.8136 | 2023 | 3 | 21 | 7 | 123.45 | 7.34 | 4.91 | 280.49 | 16.2164 | 2023 | 6 | 21 | 7 | 246.6 | 21.69 | 1.19 | 294.84 | 6.8396
2022 | 11 | 21 | 8 | 162.75 | 14.31 | 9.94 | 287.46 | 3.5834 | 2023 | 2 | 7 | 8 | 108.4 | 2.86 | 9.98 | 276.01 | 16.2017 | 2023 | 3 | 21 | 8 | 188 | 8.52 | 5.11 | 281.67 | 11.6646 | 2023 | 6 | 21 | 8 | 335.7 | 26.48 | 0.68 | 299.63 | 7.3302
2022 | 11 | 21 | 9 | 214.1 | 17.82 | 9.4 | 290.97 | 3.4696 | 2023 | 2 | 7 | 9 | 164.05 | 3.98 | 10.92 | 277.13 | 16.0685 | 2023 | 3 | 21 | 9 | 280.85 | 10 | 5.8 | 283.15 | 8.5931 | 2023 | 6 | 21 | 9 | 406.12 | 28.95 | 2.37 | 302.1 | 8.3411
2022 | 11 | 21 | 10 | 268 | 20.65 | 7.99 | 293.8 | 3.0328 | 2023 | 2 | 7 | 10 | 224.3 | 4.94 | 11.02 | 278.09 | 14.6845 | 2023 | 3 | 21 | 10 | 283.08 | 11.26 | 6.51 | 284.41 | 5.5843 | 2023 | 6 | 21 | 10 | 454 | 30.47 | 3.78 | 303.62 | 9.576
2022 | 11 | 21 | 11 | 292.1 | 22.27 | 7.19 | 295.42 | 2.8647 | 2023 | 2 | 7 | 11 | 242.8 | 5.52 | 10.91 | 278.67 | 12.1609 | 2023 | 3 | 21 | 11 | 267.3 | 12.09 | 6.7 | 285.24 | 3.5656 | 2023 | 6 | 21 | 11 | 463.8 | 31.22 | 4.85 | 304.37 | 10.0966
2022 | 11 | 21 | 12 | 273.35 | 23.13 | 6.93 | 296.28 | 2.7634 | 2023 | 2 | 7 | 12 | 223.95 | 5.94 | 10.76 | 279.09 | 8.602 | 2023 | 3 | 21 | 12 | 253.62 | 12.8 | 6.78 | 285.95 | 3.058 | 2023 | 6 | 21 | 12 | 454.77 | 31.32 | 5.73 | 304.47 | 11.2716
2022 | 11 | 21 | 13 | 210.05 | 23.27 | 6.43 | 296.42 | 2.6243 | 2023 | 2 | 7 | 13 | 183.33 | 5.92 | 10.47 | 279.07 | 5.3131 | 2023 | 3 | 21 | 13 | 246.55 | 13.16 | 6.93 | 286.31 | 3.7164 | 2023 | 6 | 21 | 13 | 417.1 | 31 | 6.17 | 304.15 | 12.4148
2022 | 11 | 21 | 14 | 131.1 | 22.84 | 5.51 | 295.99 | 2.509 | 2023 | 2 | 7 | 14 | 130.8 | 5.73 | 10.27 | 278.88 | 2.8289 | 2023 | 3 | 21 | 14 | 199 | 13.19 | 6.84 | 286.34 | 4.556 | 2023 | 6 | 21 | 14 | 353.83 | 30.44 | 6.07 | 303.59 | 13.4843
2022 | 11 | 21 | 15 | 61.08 | 22.01 | 4.48 | 295.16 | 2.4707 | 2023 | 2 | 7 | 15 | 74.62 | 4.9 | 9.91 | 278.05 | 3.7763 | 2023 | 3 | 21 | 15 | 119.65 | 12.83 | 6.67 | 285.98 | 5.1862 | 2023 | 6 | 21 | 15 | 269.65 | 29.67 | 5.86 | 302.82 | 13.1345
2022 | 11 | 21 | 16 | 5.6 | 18.23 | 2.95 | 291.38 | 2.7077 | 2023 | 2 | 7 | 16 | 31.08 | 3.58 | 8.22 | 276.73 | 4.8539 | 2023 | 3 | 21 | 16 | 65.6 | 11.83 | 6.18 | 284.98 | 6.138 | 2023 | 6 | 21 | 16 | 172.48 | 28.62 | 5.6 | 301.77 | 9.7367
2022 | 11 | 21 | 17 | 0 | 16.73 | 3.43 | 289.88 | 3.4937 | 2023 | 2 | 7 | 17 | 0 | 2.57 | 6.55 | 275.72 | 5.6879 | 2023 | 3 | 21 | 17 | 9.65 | 9.13 | 3.78 | 282.28 | 6.9332 | 2023 | 6 | 21 | 17 | 75.95 | 27.26 | 5.67 | 300.41 | 11.1509
2022 | 11 | 21 | 18 | 0 | 16.38 | 4.27 | 289.53 | 4.8428 | 2023 | 2 | 7 | 18 | 0 | 2.27 | 6.09 | 275.42 | 6.6063 | 2023 | 3 | 21 | 18 | 0 | 7.15 | 3.17 | 280.3 | 7.8105 | 2023 | 6 | 21 | 18 | 7.38 | 24.48 | 4.84 | 297.63 | 11.564
2022 | 11 | 21 | 19 | 0 | 16.48 | 6.07 | 289.63 | 5.6623 | 2023 | 2 | 7 | 19 | 0 | 2.02 | 5.63 | 275.17 | 7.1871 | 2023 | 3 | 21 | 19 | 0 | 6.17 | 2.98 | 279.32 | 8.1876 | 2023 | 6 | 21 | 19 | 0 | 22.09 | 5.05 | 295.24 | 11.5771
2022 | 11 | 21 | 20 | 0 | 16.17 | 7.73 | 289.32 | 5.5094 | 2023 | 2 | 7 | 20 | 0 | 1.94 | 5.6 | 275.09 | 6.8938 | 2023 | 3 | 21 | 20 | 0 | 5.4 | 2.61 | 278.55 | 8.2376 | 2023 | 6 | 21 | 20 | 0 | 20.17 | 4.06 | 293.32 | 10.9323
2022 | 11 | 21 | 21 | 0 | 15.59 | 8.81 | 288.74 | 5.1934 | 2023 | 2 | 7 | 21 | 0 | 1.91 | 5.86 | 275.06 | 5.9485 | 2023 | 3 | 21 | 21 | 0 | 5.23 | 2.07 | 278.38 | 7.9227 | 2023 | 6 | 21 | 21 | 0 | 18.86 | 3.09 | 292.01 | 10.7771
2022 | 11 | 21 | 22 | 0 | 14.94 | 9.03 | 288.09 | 4.673 | 2023 | 2 | 7 | 22 | 0 | 1.9 | 5.96 | 275.05 | 6.1338 | 2023 | 3 | 21 | 22 | 0 | 5.34 | 1.52 | 278.49 | 6.7387 | 2023 | 6 | 21 | 22 | 0 | 17.98 | 2.57 | 291.13 | 9.3766
2022 | 11 | 21 | 23 | 0 | 14.4 | 8.8 | 287.55 | 3.7211 | 2023 | 2 | 7 | 23 | 0 | 1.82 | 6.35 | 274.97 | 7.7279 | 2023 | 3 | 21 | 23 | 0 | 5.58 | 0.9 | 278.73 | 4.8351 | 2023 | 6 | 21 | 23 | 0 | 17.23 | 2.32 | 290.38 | 7.803
2022 | 11 | 22 | 0 | 0 | 14.02 | 8.28 | 287.17 | 2.8039 | 2023 | 2 | 8 | 0 | 0 | 1.65 | 6.8 | 274.8 | 8.3635 | 2023 | 3 | 22 | 0 | 0 | 5.53 | 0.84 | 278.68 | 3.1693 | 2023 | 6 | 22 | 0 | 0 | 16.5 | 2.17 | 289.65 | 6.026
2022 | 11 | 22 | 1 | 0 | 13.76 | 7.52 | 286.91 | 1.86 | 2023 | 2 | 8 | 1 | 0 | 1.4 | 7.23 | 274.55 | 8.6569 | 2023 | 3 | 22 | 1 | 0 | 5.39 | 0.67 | 278.54 | 2.7867 | 2023 | 6 | 22 | 1 | 0 | 15.83 | 1.96 | 288.98 | 4.9735
2022 | 11 | 22 | 2 | 0 | 13.48 | 6.28 | 286.63 | 1.4719 | 2023 | 2 | 8 | 2 | 0 | 1.35 | 7.4 | 274.5 | 10.1079 | 2023 | 3 | 22 | 2 | 0 | 5.4 | 0.37 | 278.55 | 4.0976 | 2023 | 6 | 22 | 2 | 0 | 15.39 | 1.78 | 288.54 | 4.3276
2022 | 11 | 22 | 3 | 0 | 13.09 | 4.46 | 286.24 | 1.3112 | 2023 | 2 | 8 | 3 | 0 | 1.37 | 7.5 | 274.52 | 11.5441 | 2023 | 3 | 22 | 3 | 0 | 5.2 | 0.29 | 278.35 | 5.1199 | 2023 | 6 | 22 | 3 | 0 | 15.06 | 1.68 | 288.21 | 3.9219
2022 | 11 | 22 | 4 | 0 | 12.67 | 3.38 | 285.82 | 1.2903 | 2023 | 2 | 8 | 4 | 0 | 1.26 | 7.37 | 274.41 | 12.3622 | 2023 | 3 | 22 | 4 | 0 | 4.36 | 1.46 | 277.51 | 5.3202 | 2023 | 6 | 22 | 4 | 1.5 | 14.66 | 1.75 | 287.81 | 3.7254
2022 | 11 | 22 | 5 | 0 | 12.53 | 3.03 | 285.68 | 1.3563 | 2023 | 2 | 8 | 5 | 0 | 1.2 | 6.86 | 274.35 | 13.4863 | 2023 | 3 | 22 | 5 | 0 | 3.94 | 1.8 | 277.09 | 5.5075 | 2023 | 6 | 22 | 5 | 50.38 | 16.29 | 1.81 | 289.44 | 3.9431
2022 | 11 | 22 | 6 | 10.08 | 12.64 | 2.81 | 285.79 | 1.7992 | 2023 | 2 | 8 | 6 | 3.85 | 1.28 | 6.41 | 274.43 | 14.7614 | 2023 | 3 | 22 | 6 | 54.27 | 5.39 | 1.68 | 278.54 | 6.6487 | 2023 | 6 | 22 | 6 | 146.5 | 19.03 | 2.26 | 292.18 | 4.7936
2022 | 11 | 22 | 7 | 49.3 | 14.08 | 2.39 | 287.23 | 2.7864 | 2023 | 2 | 8 | 7 | 50.7 | 1.72 | 6.22 | 274.87 | 15.811 | 2023 | 3 | 22 | 7 | 144 | 8.72 | 1.49 | 281.87 | 8.2427 | 2023 | 6 | 22 | 7 | 246.75 | 22.05 | 2.45 | 295.2 | 5.4844
2022 | 11 | 22 | 8 | 119.12 | 16.23 | 2.59 | 289.38 | 3.5764 | 2023 | 2 | 8 | 8 | 105.42 | 2.3 | 6.71 | 275.45 | 17.8973 | 2023 | 3 | 22 | 8 | 233.5 | 12.98 | 1.32 | 286.13 | 7.4165 | 2023 | 6 | 22 | 8 | 336.27 | 24.94 | 2.24 | 298.09 | 5.315
2022 | 11 | 22 | 9 | 175.05 | 17.18 | 3.14 | 290.33 | 3.4639 | 2023 | 2 | 8 | 9 | 140.98 | 3.12 | 7.74 | 276.27 | 16.2344 | 2023 | 3 | 22 | 9 | 304.75 | 15.87 | 1.46 | 289.02 | 6.6779 | 2023 | 6 | 22 | 9 | 406.77 | 27.48 | 2.56 | 300.63 | 6.1455
2022 | 11 | 22 | 10 | 194.58 | 17.76 | 3.9 | 290.91 | 3.0306 | 2023 | 2 | 8 | 10 | 172.4 | 3.98 | 8.73 | 277.13 | 16.2293 | 2023 | 3 | 22 | 10 | 350.02 | 18.03 | 2.53 | 291.18 | 5.3353 | 2023 | 6 | 22 | 10 | 453.48 | 29.51 | 3.44 | 302.66 | 7.5883
2022 | 11 | 22 | 11 | 199.73 | 17.84 | 4.19 | 290.99 | 2.8649 | 2023 | 2 | 8 | 11 | 192.38 | 4.33 | 9.29 | 277.48 | 16.5983 | 2023 | 3 | 22 | 11 | 336.7 | 18.87 | 4.39 | 292.02 | 4.9142 | 2023 | 6 | 22 | 11 | 464.9 | 31.26 | 4.21 | 304.41 | 7.9879
Summer
[18 empty] | Week | Avg Irradiance | Avg Temp
[18 empty] | First (1-7) | #REF! | #REF!
[18 empty] | Second (8-14) | 97.6718 | 9.1758
[18 empty] | Third (15-21) | #DIV/0! | #DIV/0!
[18 empty] | Forth (22-28) | #DIV/0! | #DIV/0!
[18 empty] | Highest week | Second